AS YOU FINALIZE THIS SOP FORM, PLEASE DELETE THE RED INSTRUCTIONS.  All pre-filled information in Blue type should be left in-place if applicable. Refresh the Table of Contents when you are done. To update the header and footer, double-click in the dark blue area at the top of any page.

Print out the completed form and keep a readily accessible hard copy in the lab for your reference.  You can access this SOP online at the UC Learning Center by searching for “####”

| PI: |  | RUA Number: |  |
| --- | --- | --- | --- |
| Locations: |  |
| SOP Title: |  |
| Manufacturer: |  | Model: |  |
| Date: |  | Contact Info: |  |

Section 1 – Experimental Description and Process	2

Section 2 – Hazardous Chemicals	3

Section 3 – Potential Hazards	4

Section 4 – Approvals Required	4

Section 5 – Designated Area	4

Section 6 – Special Handling Procedures and Storage Requirements	4

Section 7 – Personal Protective Equipment & Individual Monitoring Devices	5

Section 8 – Engineering/Security/Ventilation Controls	5

Section 9 – Accident Procedures	6

Section 10 – Maintenance/Removal	6

Section 11 – Integrated Safety Management	2

Section 12 – Training Documentation	7

Offline Training Verification	8

# Integrated Safety Management

| Take ownership of your safety! Before starting any work, ask yourself: What will I be doing? Do I know what the hazards are? Do I have everything I need to do the job safely? Am I doing the job safely? What can we do better? |  |
| --- | --- |

# Section 1 – Experimental Description and Process

In this section you should paste in the actual experimental protocol you will be following.  The protocol steps where radiation is produced, and the activities involved should be explicitly described so that they can be evaluated.

- List operating parameters/techniques.

- In particular, call out occasions where you might access the interior of the machine while it is active and measures you will take to minimize the potential exposure to radiation.

Examples may include:

| Process Steps |  | Safety Measures |
| --- | --- | --- |
| Powder sample loading |  | Survey into the enclosure with GM meter in hand to survey for scattered x-rays to verify the shutter has closed before reaching into the target area to load the sample. Make sure the dosimetry ring is facing toward the source of x-rays. |
| Single crystal mounting |  | Identify the best crystal under the microscope for mounting on to the loop. Remove remaining material, slide, and liquor to dispose of as hazardous waste as appropriate. If the sample contains radioactive materials, follow the procedures established for handling radioactive materials in this lab. Survey the crystal mounting station and machine after use to check for contamination. |
| Interlock check |  | Verify that x-rays are not generated and/or the shutter is closed when any door is open or panel is removed allowing access to the interior of the machine. Verify the x-rays are not generated or the shutter is closed when any “X-Rays On” or shutter indicator light is not working. |

# Section 2 – Hazardous Chemicals

In addition to the radiation producing machine you will be using, list all other hazardous chemicals used in this experiment.

# Section 3 – Potential Hazards

List all potential hazards.  Examples might include biohazards, sharps, electric shock, compressed gas, fire, volatiles, cryogens, etc.

# Section 4 – Approvals Required

All Users must go through radiation safety training and be listed on the lab RUA.

Training by experienced lab member and supervision during first use(s) of this protocol.  If no experienced lab member is qualified to supervise the initial uses of radioactivity then arrangements should be made to have someone from EH&S Radiation Safety present.

If your experiment involves animals or biohazards, you should indicate that approval by ACUC is also required or that you have an approved BUA.

If your machine is a cabinet x-ray, field radiography, diagnostic x-ray or accelerator, additional documented practical training is necessary. Please contact EH&S for details related to this training.

# Section 5 – Designated Area

List the authorized areas you plan to work in including any common work areas, etc.

# Section 6 – Special Handling Procedures and Storage Requirements

Describe in general what special handling procedures you will use to work safely and keep your dose ALARA.  Describe the interlock systems of your machine and how you will test their functionality. Demonstrate that the construction of your machine provides adequate shielding during normal operation. Greater detail and the precautions taken at specific steps of the process should be outlined in section 12.

Describe any special storage requirements for your samples, materials in process, and wastes used with the machine.

# Section 7 – Personal Protective Equipment & Individual Monitoring Devices

| Safety glasses Close-toed shoes Clothing that fully covers the legs | Gloves (as necessary) Dosimetry (as specified) |
| --- | --- |

# Section 8 – Engineering/Security/Ventilation Controls

Indicate what engineering and/or ventilation controls will be used.  Examples include remote handling tools, shielding, interlocked safety devices. Additionally, describe how the machine will be secured against theft and unauthorized use.

# Section 9 – Accident Procedures

Radiation Safety must be notified immediately of any of the following situations:

- An interlock failure

- Unexpected personnel exposure

- Airborne radioactivity

- Loss of control, unauthorized use, or theft of radiation producing machines

|  | In the event of an exposure |  |
| --- | --- | --- |

- During business hours call the EH&S main line at (510) 642-3073

- After hours and on the weekends, call UCPD at (510) 642-3333

- Shut down and secure the machine

- Await further instructions from EH&S Radiation Safety on how to proceed.

# Section 10 – Maintenance/Removal

All machine repairs will be performed by qualified personnel. Interlocks will be tested and radiation leakage surveys will be performed before returning the machine to service. Beam alignment operations require specific authorization and/or supervision by EH&S.

Machines that are moved from their current approved location require prior notification to EH&S to verify that the new location is appropriate for use and change of registration with the State of California. Transfer, sale, or disposal of machines to another user or institution similarly requires notification to the State of California within 30 days.

# Section 11 – Training Documentation

To access the standard operating procedures for an RUA on the UC Learning Center:

- Select Find A Course from the home page

- Enter only your RUA number in the search bar (e.g., 5421)

- A list of all SOPs for your RUA should be displayed. If any SOP is missing, contact radsafety@berkeley.edu.

If you are unable to access the SOP using the UC Learning Center, and have a time-sensitive need to complete SOP training, you may document completion by signing below. A Radiation Safety team member will collect signatures to upload to the UC Learning Center during the next scheduled routine survey.

# Offline Training Verification

With my signature, I agree that I have read and understand this Standard Operating Procedure.

| Name (Printed) | Signature | Date |
| --- | --- | --- |