# Overview

This guide serves as an example and is presented with permission from LBNL. There are many types of pressure vessels so this serves as a template that allows you to replace the images to meet your specific needs.

Visual comparison guides are effective as a quick review of processes. It is recommended to keep these near relevant equipment.  Visual guides can be useful for new researchers learning to use the equipment or as a refresher for those who do not regularly use the equipment. People may interpret qualitative descriptions differently so a visual guide helps to solve that variability.

Continued on next page

| STEP 1: Insert bottom | STEP 2: Insert cup | STEP 3: Fit Teflon lid | STEP 4: Place both disks |
| --- | --- | --- | --- |
| Insert bottom disc so that part numbers are visible on the outside | Insert pre-loaded cup. push bottom disc up to meet the cup then slide both to bottom. | Place Teflon lid on top | Add corrosion disc. Then add rupture disk. |

| STEP 5: Bottom Pressure plate & spring | STEP 6: Top pressure plate | STEP 7: Fit screw cap | STEP 8: Tighten cap |
| --- | --- | --- | --- |
| Place the bottom pressure plate on top of the rupture disc, so that the part number is facing up. Set the spring in the depression. | Add the upper pressure plate so that part number is facing up | Place screw cap on top. | Tighten by hand. Then use the provided tool (if your vessel requires it) and tighten an additional 1/8 of a turn. Do NOT overtighten! |

Video showing assembly process https://goo.gl/9YLfZU

Photo Credit: Photos from MFD