|  | Job Safety Analysis |
| --- | --- |
|  | Safety Information for the University of California, Berkeley |  |
|  | Recreational Sports - Maintenance |
|  | Using Ladders |
|  | Refer to Environment, Health and Safety’s fact sheet on “Ladder Safety” |
|  | Task | Hazards | Controls |
|  | Setting up the ladder - different types of ladders require different means of securing their placement. | Injuries to self and others from losing control of ladder | Ladder must be secured prior to use. |
|  |  | Potential electrocution | Metal ladders are not used near electrical lines LockOut/TagOut procedures must be used if any electrical or mechanical equipment is being serviced (this may include changing a light bulb). See EH&S Fact Sheet, “Lockout/Tagout: Procedures for Controlling Hazardous Energies.” |
|  | 2. Climbing ladder. |  |  |
|  |  | Falling | Maintain three points of contact while on the ladder. Ladders are used for access. If working while in one place on the ladder some form of fall protection must be provided. |
|  | Removing ladder. | Injuries to self and others from losing control of ladder |  |
|  | Required Training: Use of ladders Use of a fall protection harness (if necessary) Lockout/Tagout (if necessary) | Required Personal Protective Equipment (PPE) Fall protection harness assembly (if necessary) |
| Other Information: | Ladder Safety Fact Sheet (fhttp://www.ehs.berkeley.edu/pubs/factsheets/66laddersafety.pdf) Lockout/Tagout: Procedures for Controlling Hazardous Energies Fact Sheet (http://www.ehs.berkeley.edu/pubs/factsheets/05loto.pdf)“ |
| Contributors: | Department of Recreational Sports |
| Created: | June 2004 |
| JSA Library Number: | RS-Maint-03 |  |  |
|  | For more information about this JSA, contact the Office of Environment, Health and Safety at UC Berkeley, 317 University Hall #1150, Berkeley, CA 94720-1150 (510) 642-3073 ( http://www.ehs.berkeley.edu |